SALTINO, 5V

Instrument:      EXT- SARA SR04HS

Data format: 16 byte

Full scale [mV]: n.a.

Start recording: 17/06/16 18:54:10	End recording:   17/06/16 19:14:10

Channel labels:    NORTH SOUTH;   EAST WEST  ;   UP DOWN

GPS data not available

Trace length:      0h20'00''. 	Analyzed 75% trace (manual window selection)

Sampling rate:    200 Hz

Window size:  20 s

Smoothing type: Triangular window

Smoothing:  10%

| HORIZONTAL TO VERTICAL SPECTRAL RATIO |  |
| --- | --- |
| H/V TIME HISTORY | DIRECTIONAL H/V |

SINGLE COMPONENT SPECTRA

[According to the SESAME, 2005 guidelines. Please read carefully the Grilla manual before interpreting the following tables.]

| Max. H/V at 7.57 ± 3.6 Hz (in the range 0.0 - 64.0 Hz). |  |  |  |
| --- | --- | --- | --- |
| Criteria for a reliable H/V curve [All 3 should be fulfilled] |  |  |  |
| f0 > 10 / Lw | 7.57 > 0.50 | OK |  |
| nc(f0) > 200 | 6811.5 > 200 | OK |  |
| A(f) < 2 for 0.5f0 < f < 2f0 if f0 > 0.5Hz A(f) < 3 for 0.5f0 < f < 2f0 if f0 < 0.5Hz | Exceeded 0 out of 234 times | OK |  |
| Criteria for a clear H/V peak [At least 5 out of 6 should be fulfilled] |  |  |  |
| Exists f - in [f0/4, f0] ¦ AH/V(f -) < A0 / 2 |  |  | NO |
| Exists f + in [f0, 4f0] ¦ AH/V(f +) < A0 / 2 |  |  | NO |
| A0 > 2 | 2.72 > 2 | OK |  |
| fpeak[AH/V(f) ± A(f)] = f0 ± 5% | ¦0.47554¦ < 0.05 |  | NO |
| f < (f0) | 3.59908 < 0.37842 |  | NO |
| A(f0) < (f0) | 0.1628 < 1.58 | OK |  |

| Lw nw nc = Lw nw f0 f f0 f (f0) A0 AH/V(f) f – f + A(f) logH/V(f) (f0) | window length number of windows used in the analysis number of significant cycles current frequency H/V peak frequency standard deviation of H/V peak frequency threshold value for the stability condition f < (f0) H/V peak amplitude at frequency f0 H/V curve amplitude at frequency f frequency between f0/4 and f0 for which AH/V(f -) < A0/2 frequency between f0 and 4f0 for which AH/V(f +) < A0/2 standard deviation of AH/V(f), A(f) is the factor by which the mean AH/V(f) curve should be multiplied or divided standard deviation of log AH/V(f) curve threshold value for the stability condition A(f) < (f0) |
| --- | --- |

| Threshold values for f and A(f0) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Freq. range [Hz] | < 0.2 | 0.2 – 0.5 | 0.5 – 1.0 | 1.0 – 2.0 | > 2.0 |
| (f0) [Hz] | 0.25 f0 | 0.2 f0 | 0.15 f0 | 0.10 f0 | 0.05 f0 |
| (f0) for A(f0) | 3.0 | 2.5 | 2.0 | 1.78 | 1.58 |
| log (f0) for logH/V(f0) | 0.48 | 0.40 | 0.30 | 0.25 | 0.20 |